## Sheet1
BOOPTHAT Bill of Materials
Name | Link |  | Notes: The specific brands and quantities can be changed based on need and availability. The links provided are the ones that we used, with the exception of the optical fiber. We used optical fiber that we had on hand. The important specs for the optical fiber - it should be multimode (wider core, >50um), have ST connectors on both ends so that both halves can be used.
30 mW visual fault locators | https://www.amazon.com/FYBOPTWU-Visual-Locator-Singlemode-Adapter/dp/B0BXP6ZKTF/ref=sr_1_11?crid=3R58H7QCQ7TY3&dib=eyJ2IjoiMSJ9.KwWXlJUHh44uj7ULeefyI6TRdf0ezF9ZQlOqGHlxy4zuhJ96Ph4kwJG5lJknBiVUTCR0ksoi1QDY4-qL6SYWJ93xeaZbRgof8fnwPJcWUsMWKc710MgHpl3D5sfQjzs1t5FHfwZCZeCNkULpGo6aEpQY4ifqk8NwSVSNjHkxYgSta6UF2vY3WUlhJhx_5myQ4MAF_W-KAy9idOtyJiM1eaVYFBM-nvOQS_VpMIirAOQ.RBvvWKwaWPmmHn5YS96vZNr0EakWGkEjDvgRBTu6yec&dib_tag=se&keywords=visual%2Bfault%2Blocator%2B30mW&qid=1708473963&sprefix=visual%2Bfault%2Blocator%2B30mw%2Caps%2C77&sr=8-11&th=1 | For building the setup
3D Printer Filament (PETG) Rock White | https://www.amazon.com/OVERTURE-Filament-Consumables-Dimensional-Accuracy/dp/B07PGYHYV8/ref=sr_1_4?crid=3DNTX784ABTRD&dib=eyJ2IjoiMSJ9.yf4QrGfdb01bS0owhB7XaEc31hd07POrmrkNF-mVmaCe15UCIiXF1juweOZrfCKMwjIk0OJpT2RmkFw8HVtfQ7GJDvwqGIJ_XjYahUChx-yy66-ezbjl4NAFEXna7GXNa89grsfEhYXokT-Qy2o9UzYGsCt6jxNMc-hdnIT-JTJWku8WVohhd6FMY2FWKfGzXLK7vGySlLdiIUXgzUFGLPIPMDw71OBkKrrgXK8x5IM.8A1pUqKSc7sOkHaMmBm0C-Jo24Pv5Q8Fxk3QurGRak8&dib_tag=se&keywords=petg&qid=1708474435&sprefix=petg%2Caps%2C87&sr=8-4&th=1
Hardware - 50 M4x40, 75 M4 Hex, 25 M3x10, 25 M3 Hex | https://accu-components.com/
20 AWG wire | https://www.amazon.com/Silicone-Electrical-Conductor-Parallel-Flexible/dp/B07K9JKXM9/ref=sr_1_4?crid=3V339BFFDZ8VS&dib=eyJ2IjoiMSJ9.WNUWgIHBQWtcWKfS11vHyb2_2MVRAuAIdm6gfTLhmzCaUfRdw_Yea_GZq92ViHJa0dU71qMadsS3KZD16VD0mwJIe0QkgPo1TS1XDcmiQYFMciLvy3ptq1KchpJDR2VvnC0a3GPsDuuIY8qsecMN_gH-cSbCCT1-AODdsGLSJGSfTrFOIRrRzOQjMTN4IN-07WsV9-CFB5uT9AnFeT88S_Fy_N3PnmYh0kols9n6kGCcwUZzzV_95PSX8BxW6bM4vYvx0gbVQyYkvFwMBrEl8k8jR8mbigondL91v2MMEDk.FocKi0YbsZFWx4dVdBDjlDY89sv0b6bhhTWmk2WQiAE&dib_tag=se&keywords=20%2Bawg%2Bwire&qid=1710157594&s=hi&sprefix=20%2Bawg%2Bwire%2Ctools%2C105&sr=1-4&th=1
T-tap wire connector | https://www.amazon.com/Brightfour-Voltage-Connectors-Stripping-24-18/dp/B0BLKBQ2JH/ref=sr_1_8?crid=1O0UBGR3GMJAY&dib=eyJ2IjoiMSJ9.VwF37Y7cDpdsk-XbzNewsoBO3TUxC7rX0e4ekP3bX2z20q7UUl8OV4Hf_jhGeXJymo0QpGpuiF_abYvbPVufQBQyzzuKPtnZlMMuLyyPKNp3f3F62JZO--BxXoqN8FdJvC-JnJtRX2z7aMiQYnkfz91dhXchLZFibkQEXLViomaE4cX-PVk_jpLs0mTZPBEqLjftE5UHE2geZ5d2gYy7bgMJtA8TYlSAQx5Xo8y9_lqsrwEM8d2FjcPlgHoTTm0ZvE1Y8rBrfWKIk9gawEbKHn12AP79WYqbs1y8BoLpo0A.1OPjtHfMtmfxZuzZtVKPxQHrVKehgJ8RVydwRRc5K1M&dib_tag=se&keywords=2%2Bwire%2Bt%2Bconnector&qid=1710119331&s=hi&sprefix=2%2Bwire%2Bt%2Bconnector%2Ctools%2C106&sr=1-8&th=1
10 ohm trimmer potentiometer | https://www.amazon.com/Bourns-3296Z-1-100-64Z100-Square-Potentiometer/dp/B01MZE7493/ref=sr_1_4?dib=eyJ2IjoiMSJ9.abyWJDOvlQ2P7MFcLIUYpbLmBFeNXHe0Uqw-gxWuWEVf7-YVPX8dxMtBv4-nMokJwa-t61QLQVYMvATj593_YD6w7yV8ChY1rhqkil7kaQoxuWMxIpZ_ty-4Q4z37KR6Mhdt1ZF4QDfIQHid1JFLUlpjk57BCis48GX84FzCkeyum4iQSQq1p7ubhMyhTF4wpAWzuYa1qoOHJWYv_qqHDvhA8Z2nG2hQszPnyJlJ4sk.N9hS93x0KKvIWib46GWysinNwRfxektuipucEhbMe0M&dib_tag=se&keywords=10+ohm+trimmer+potentiometer&qid=1710158285&sr=8-4
Grip Tape | https://www.amazon.com/Hampton-Adams-3-Pack-Athletic-Sports/dp/B0771MZY1J/ref=sr_1_6?crid=3EV2F3MBMJXQB&dib=eyJ2IjoiMSJ9.h0CfAy-71F0ATaASOGxaSxuhqbtABSub3ZicXkbCntTsHY6mecsGPjeDrhabNFYPuDEC0QL7GzgUnt_bR5mx9TvZIhToY8OSUxO8irmj22ytgfbloMBkZ6pc2-H_jvtfXDNTPzHx5S6hgbAZG8rFrGzonbmCCO9E9_k1jPOMa_jG7HlqtYY1gvr6dnSFL9PHkvT06NwgvgBzs1ctWDRxSC3CpSeeUQLUbzxnMeyfH7AaYsw3prvO70aAYvJ13MchfSrZAinkXztB0xg7PwxGaMdN9KySv3S8nz_gWMpBFaA.kC2qgU0EWuB5qKndiSbtgpgstlhPucHMZRan9I9K6Bc&dib_tag=se&keywords=black+grip+tape&qid=1708475673&s=industrial&sprefix=black+grip+tape%2Cindustrial%2C78&sr=1-6
Optical Fiber, ST connectors, multimode with wide core | https://www.amazon.com/FiberCablesDirect-ST-ST-Fiber-Patch-Cable/dp/B01663TVFY/ref=sr_1_2_sspa?crid=2PZDPWMFB5CMQ&dib=eyJ2IjoiMSJ9.bssbXSp2xmXw4xMbbOwralWslxBZOdEPLHLId_nvH4HCAeyuXFnhOqetqs401qiVHU6dlOGBEKhsS-6RLCesHL1G4aMCz2Tx_sVPMY85eRPk1WgtH1pDm0hDn0thdcX8iRRbTRfMeHvy7Tbxu8iQph40iibmLaTcODmSxIESNL-9-IGeYdLgLJhwdnR3v8hqhv2i5kuxShmu7RklkgM0I0af5jaWtHCsJGhRA5azUQqs0fTX9uBsjIOySygBFGLrpVV_7kYMLIPmpqe3rr2nLhba-N-qutAEZbfzzFMvxSA.sHrQrli-vJtOVbpiXrTaZmp0V3MOqXdZgQanFX9L4jw&dib_tag=se&keywords=ST%2Bconnector%2Boptical%2Bfiber&qid=1780408552&s=industrial&sprefix=st%2Bconnector%2Boptical%2Bfiber%2Cindustrial%2C400&sr=1-2-spons&sp_csd=d2lkZ2V0TmFtZT1zcF9hdGY&th=1
Sutter Ceramic Tile for scoring glass | https://www.autom8.com/shop/micropipette-fabrication/glass/ceramic-tile-for-cutting-glass/ | Probe cutting/coating
Acrylic primer 200mL | https://www.amazon.com/Vallejo-Black-Primer-Acry-Poly-200ml/dp/B004BMZVMK/ref=sr_1_5?crid=3F1UBO7G7ZTKD&dib=eyJ2IjoiMSJ9.t-SXwWdqmrszCygsAv1U4_UKq6_KzMMcIy--3nfn8h5S8gSrGBSmA2mqMguoLIx0IEnWwueiFpXNsSHEQKCRqKYYBp6letRIfxjoSp_u5xIVQqQiRoR86cGBh44TWoe-2O8UKypLAlMNpIFhRNBjqHcxMZL2et-gLDRU3PULJgyF0j8BTNHAkmDWTI75rLugTTYvPeEKD5bIo99xBZpA5QmnqMaMuyWu23Z91Boi9cfbdWm1sCLjiym7qT2eS6Q0nnI1ebYsO5tMFNePg5QRQQzf_oIVNG1qn6rO3Qat3oM.O3MaS5gA-RC6ZTGBKWqnApjZfH3kw4MFMJb_NJqz-84&dib_tag=se&keywords=black%2Bacrylic%2Bprimer&qid=1708473887&sprefix=black%2Bacrylic%2Bprimer%2Caps%2C69&sr=8-5&th=1
Black 4.0 Acylic Paint 150mL | https://www.culturehustleusa.com/collections/black/products/black-4-0
Laser Power Meter, Sanwa LP10 | https://www.sanwa-america.com/products/lp10-laser-power-meter?srsltid=AfmBOornC2bTYIF3ILdSAg1wTCDolluzlg8iZBbC6PXIGqC1ACjfOU7m | For calibrating the setup
56 AWG thermocouple wire E,T(-) | https://www.omega.com/en-us/temperature-measurement/temperature-wire-and-cable/extension-wires-and-cables/spir/p/SPCC-0005-50
56 AWG thermocouple wire K,E(+) | https://www.omega.com/en-us/temperature-measurement/temperature-wire-and-cable/extension-wires-and-cables/spir/p/SPCH-0005-50
Thermocouple Reader | https://www.amazon.com/Fluke-Calibrated-Single-Input-Thermometer/dp/B000VRCSX4/ref=sr_1_1_sspa?crid=G855DIJ65KZ6&dib=eyJ2IjoiMSJ9.9Cn_wewxEoC19Qrg2SCj1QgHwQYdZwAeDWMPMN-VO0nxMO258ecMQLiPjUnlzr5dd5SWOkgXU8fdNNjeL8UycU_mYi8wRYwaRhgkjFRb9b55kQBtBvRyBwqfmWZoVSlCf-o3VXsNcUNdHALnAZWDTWTEG_H7fOMd-XfpvncQMY-Sex_qb22cXNAnsUBYUTJ9eNlYa9abkGuMkwWucBNrsaWH90ufKm75JQPt8dcUyEQ.PxQFbFrKupPZ1oYZQsVdu0texKEv59Sji_4dx2ZAIUA&dib_tag=se&keywords=fluke+thermocouple+reader&qid=1780409596&sprefix=fluke+thermocouple+read%2Caps%2C300&sr=8-1-spons&ufe=app_do%3Aamzn1.fos.5998aa40-ec6f-4947-a68f-cd087fee0848&sp_csd=d2lkZ2V0TmFtZT1zcF9hdGY&psc=1
E-type thermocouple connector | https://www.amazon.com/MECCANIXITY-Thermocouple-Connectors-Adapter-Temperature/dp/B0C348T7KD/ref=sr_1_1?crid=1FCGPP2SW2SGS&dib=eyJ2IjoiMSJ9.FC1hpYHfXh-inzX4Ui4fFFc9Sv2kp-f_mVspJq3Jt-m3czUEReZFLXJEo2oZ90dzhya5FyEPIexGQTe3RkhPCsIruHPmo2O81bmcX5i6xbGQ5mIATUAt9NetvOXyXgHumOjUmlgmxiVDaoWRm8IWrfhCGEQVY32gg5h0YQmuCvClflfLagXUBIAh58s0w_axpbIbAFqa9QahoFxGEl1y-T_VzSB6rB5wxuBsMBNigSU.dJWB5QVTY-hJwQQDH-DMXN41C8iUgZgvfNgbSZ6WJ7U&dib_tag=se&keywords=e-type+thermocouple+connector&qid=1710962960&sprefix=e-type+thermocouple+connector%2Caps%2C70&sr=8-1